## Sheet1
TIME IN UTC
Date | Time (UTC) | Event | File | Ch1 | Ch2
2024-09-05 | 16:32 | Measurments started | old_inlet_water_sep05 | / | /
| 17:01 | ZA on |  | / | /
| 17:31 | Integration times set |  | 29 | 11
| 17:34 | Auto ZA cycl started |  |  |  | 0:30 on 5:45 off, starts with a zero, so kept going from ZA started at 17:01
| 18:04 | ZA off
| 20:30 | Lost Ch1 |  |  |  | Problems with Ch1, either due to inlet issues of R2 (1) tube disconnecting, not sure which one happened first…
2024-09-06 | 14:15 | Measurements started up again | reagents01
| 14:32 | Auto ZA cycle started |  |  |  | NB checked ZA flow for a sec during this zero - might see a small bump
| 15:02 | ZA off
| 15:28 |  | reagents02
| 20:47 | ZA on
| 21:17 | ZA off
| ~21:00 | Lost Ch1
2024-09-07 | 13:00 | Water | water_sep07
| 15:24 | Reagents (abs off)
| 15:44 | Measurements started (abs on)
| 15:55 | ZA on (checked flow at inlet)
| 16:00 | Auto ZA cycle started
| 16:30 | ZA off
| 22:15 | ZA on
| 22:45 | ZA off
| 23:44 | Lost Ch1 |  |  |  | 28:30 | ZA on
2024-09-08 | 10:39 | Reconnected abs1, measurements started again |  |  |  | 29:00 | ZA off
| 10:45 | ZA on
| 11:15 | ZA off
| 15:16 | Lost Ch1
| 15:24 | Back to normal
| 17:03 | ZA on
| 17:33 | ZA off
| 23:18 | ZA on
| 23:48 | ZA off
2024-09-09 | 29:33 | ZA on
| 30:03 | ZA off
| ~06:10 | Lost both channels
| 11:30 | Back to normal
| 11:51 | ZA on
| 11:58 | Lost ch2
| 12:03 | ZA off
| 12:45 | Back to normal
| 13:00 | ZA on
| 13:30 | ZA off
| 14:30 | ZA on (cal)
| 15:01 | Cal started
| 15:34 | Cal stopped
| 16:05 | ZA off (cal)
| 17:15 | ZA on
| 17:45 | ZA off
| 23:30 | ZA on
2024-09-10 | 24:00 | ZA off
| 29:45 | ZA on
| 30:15 | ZA off
| 36:00 | ZA on
| 36:30 | ZA off
| 15:45 | Liquid pump off - checking HCl scrubber
| 16:00 | Pump back on
| 18:19 | Zero air on
| 18:49 | Zero air off
| 21:33 | Lost ch1 |  |  |  | 24:34 | ZA on
2024-09-11 | 9:48 | Measurements back to normal |  |  |  | 25:04 | ZA off
| 11:54 | Checking inlet |  |  |  | 30:49 | ZA on
| 12:21 | Stopped checking/messing with inlet |  |  |  | 31:19 | ZA off
| 13:22 | ZA on
| 14:07 | ZA off
| 17:00 | ZA on
| 17:30 | ZA off
| 17:46 | Lost Ch2
| 17:53 | Checking inlet | flow at 1.5 again
| 18:08 | Stopped checking inlet, ch2 opened again
| 18:31 | Auto ZA cycle started
| 19:01 | Zero off
2024-09-12 | 24:46 | Zero on
| 25:16 | Zero off
| 31:01 | Zero on
| 31:31 | Zero off
| 12:20 | Checking inlet/messing with flow meter set up
| 13:23 | Back to normal measurements with flow meter
| 14:15 | Auto ZA cycle started
| 14:45 | Zero off
| 20:30 | Zero on
| 21:00 | Zero off
2024-09-13 | 26:45 | Zero on
| 27:15 | Zero off
| 33:00 | Zero on
| 33:30 | Zero off
| 13:55 | ZA on (cal)
| 14:19 | Cal solution connected
| 14:51 | Cal stopped
| 15:26 | ZA off after cal
| 17:44 | Auto ZA cycle started
| 18:14 | Zero off
| 23:59 | Zero on
2024-09-14 | 24:29 | Zero off
| 30:14 | Zero on
| 30:44 | Zero off
| 7:47 | ZA on (to adjust spectra and recalibrate)
| 8:17 | Spectra adjusted |  | 42 | 11
| 8:30 | Cal started
| 9:04 | Cals stopped
| 9:45 | ZA off (after cal)
| 12:45 | Auto ZA cycle started
| 13:15 | ZA off
| 19:00 | Zero on
| 19:30 | Zero off
2024-09-15 | 25:15 | Zero on
| 25:45 | Zero off
| 7:33 | Zero on
| 8:03 | Zero off
| 13:48 | Zero on
| 14:18 | Zero off
| 20:03 | Zero on
| 20:33 | Zero off
| 23:50 | Air in abs - R2 reagent bag disconnected
2024-09-16 | 16:19 | Abs opened again, after various issues
| 17:30 | Auto ZA cycle started
| 18:00 | Zero off
| 23:45 | Zero on
2024-09-17 | 24:15 | Zero off
| 30:00 | Zero on
| 30:31 | Zero off
| 12:18 | Zero on
| 12:48 | Zero off
| 18:33 | Zero on
| 19:03 | Zero off
2024-09-18 | 24:48 | Zero on
| 25:18 | Zero off
| 31:04 | Zero on
| 31:34 | Zero off
| 12:48 | Zero on (final zero)
| 13:18 | Zero off

## Sheet2
Zero | Time delay | Time response | Average time delay | 14.1471 | Time delay is the amount of time between zero starting and a change being seen in data - going to use start of rise as start of zero
2024-09-07 22:15 | 15 |  | Average time response | 16.75 | Time response is the amount of time it takes to get to get back to 90% of ambient measurement
2024-09-08 04:30 | 15
2024-09-08 10:45 | 7 |  | Time correction | 22.5221
2024-09-08 17:03 | 14
2024-09-08 23:18 | 16
2024-09-09 05:33 | 16
2024-09-09 13:00 |  | 16
2024-09-09 17:15 | 15
2024-09-09 23:30 | 15
2024-09-10 05:45 | 15 | 16
2024-09-10 12:00 | 16
2024-09-10 18:19 | 13
2024-09-11 17:00 | 10
2024-09-11 18:31 | 11 | 20
2024-09-12 00:46 | 11
2024-09-12 07:01 | 14
2024-09-12 14:15 | 15 | 15
2024-09-12 20:30 | 15 | 18
2024-09-13 02:45 |  | 16
2024-09-13 09:00 | 10 | 18
2024-09-13 17:44 | 16 | 16
2024-09-13 23:59 | 16 | 16
2024-09-14 06:14 | 13
2024-09-14 12:45 | 15
2024-09-14 19:00 | 15
2024-09-15 01:15 | 15
2024-09-15 07:33 | 14
2024-09-15 13:48 | 14
2024-09-15 20:03 | 18
2024-09-16 17:30 | 12 | 16
2024-09-16 23:45 | 16 | 18
2024-09-17 06:00 | 15
2024-09-17 12:17 | 15 | 16
2024-09-17 18:33 | 15
2024-09-18 00:48 | 12
2024-09-18 07:03 | 17

## Flow meter
Date | Time | Value | Location |  | time in utc
2024-09-02 |  | ~880 | Inlet
2024-09-11 | 12:06 | ~1400 | Inlet |  |  | first avg | 1198.1579
| 12:16 | 847 | Inlet |  |  | second avg | 1350.3125
| 17:52 | 1518 | Inlet
| 18:03 | 1027 | Inlet
2024-09-12 | 12:21 | 1867 | Inlet | 1199.6842
| 12:34 | 862 | Inlet
| 13:04 | 1200 | Lab
| 13:30 | 1170 | Lab
| 13:40 | 1200 | Lab
| 14:00 | 1200 | Lab
| 14:15 | 1200 | Lab
| 14:30 | 1210 | Lab
| 14:10 | 1200 | Lab
| 14:45 | 1170 | Lab
| 15:18 | 1170 | Lab
| 16:00 | 1170 | Lab
| 16:30 | 1160 | Lab
| 16:45 | 1160 | Lab
| 17:00 | 1160 | Lab
| 17:15 | 1170 | Lab
| 17:30 | 1180 | Lab
| 18:00 | 1175 | Lab
| 18:30 | 1170 | Lab
2024-09-13 | 13:07 | 1270 | Lab | 1203.25
| 13:33 | 1270 | Lab
| 13:55 | 1265 | Cal
| 14:28 | 1240 | Cal
| 14:35 | 1230 | Cal
| 14:40 | 1225 | Cal
| 14:45 | 1225 | Cal
| 14:50 | 1220 | Cal
| 14:55 | 1215 | Cal
| 15:00 | 1225 | Cal
| 15:07 | 1215 | Cal
| 15:17 | 1190 | Cal
| 15:25 | 1180 | Cal
| 15:43 | 1160
| 16:02 | 1170
| 16:16 | 1155
| 16:31 | 1150
| 16:51 | 1150
| 17:01 | 1160
| 17:42 | 1150
2024-09-14 | 7:45 | 1400 |  | 1322.8
| 7:50 | 1560 | Cal
| 7:55 | 1610 | Cal
| 8:17 | 1530 | Cal
| 8:30 | 1510 | Cal
| 9:00 | 1450 | Cal
| 9:04 | 1450 | Cal
| 9:18 | 1460 | Cal
| 9:23 | 1440 | Cal
| 9:36 | 1410 | Cal
| 9:40 | 1390 | Cal
| 9:45 | 1320 | Cal
| 10:03 | 1270
| 10:27 | 1250
| 10:55 | 1220
| 11:16 | 1200
| 11:30 | 1200
| 11:47 | 1190
| 12:03 | 1180
| 12:15 | 1180
| 12:32 | 1170
| 12:44 | 1170
| 13:15 | 1200
| 13:50 | 1160
| 14:08 | 1150
2024-09-15 | 7:50 | 1620 |  | 1365
| 8:03 | 1640
| 8:19 | 1480
| 8:45 | 1410
| 9:00 | 1380
| 9:30 | 1360
| 9:55 | 1330
| 10:10 | 1320
| 10:30 | 1300
| 10:45 | 1280
| 11:15 | 1290
| 11:30 | 1285
| 11:45 | 1270
| 12:00 | 1250
| 12:15 | 1260
| 12:30 | 1240
| 12:45 | 1240
| 13:00 | 1220
| 13:25 | 1230
| 13:40 | 1220
| 13:50 | 1240
2024-09-16 | 13:00 | 1410
| 17:05 | 1210
| 17:30 | 1220
| 17:45 | 1240
2024-09-17 | 12:00 | 1180
| 12:45 | 1190
| 13:15 | 1160
| 13:35 | 1160
| 14:05 | 1140
| 15:15 | 1150
| 15:50 | 1140
| 16:00 | 1150
| 16:45 | 1160
| 17:00 | 1150
| 17:30 | 1150